## Method
Presentation of the analysis method
Number of cameras used | 9
Video pre-processing | -
2D point identification algorithm and model | Theia3D
2D point processing | Theia3D
3D point construction | Calibration done with the Theia3D module, then triangulation + Inverse Kinematics with Theia3D.
3D point processing | -
Multi-subject processing | Theia3D
Joint motion computation | From the segmental rotation matrices, we calculate the joint reference frames (the transformation matrix between the parent and child segments), then extract the angles from these matrices following an F/E, Abd/Add, and I/E rotation sequence.
Joint motion processing | -
Free comments

## Results
Presentation of the obtained results
|  | gait |  | sit-stand |  | mmh |  | exotic |  | dance
|  | participant_01 | participant_02 | participant_01 | participant_02 | participant_01 | participant_02 | participant_01 | participant_02 | participant_01 | participant_02
Processed trial |  | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes
% estimated | RHip_FE | 99.67 | 99.33 | 99.63 | 99.17 | 84.76 | 91.05 | 45.95 | 21.25 | 98.74 | 88.89
| RHip_AA | 99.67 | 99.33 | 99.63 | 99.17 | 84.76 | 91.05 | 45.95 | 21.25 | 98.74 | 88.89
| RKnee_FE | 99.67 | 99.33 | 99.63 | 99.17 | 84.76 | 91.05 | 45.95 | 21.25 | 98.74 | 88.89
| RAnkle_FE | 99.67 | 99.33 | 99.63 | 99.17 | 84.76 | 91.05 | 45.95 | 21.25 | 98.74 | 88.89
| L5S1_FE | 99.67 | 99.33 | 99.26 | 93.58 | 78.48 | 85.51 | 44.14 | 20.6 | 92.95 | 74.8
| RShoulder_AA | 99.67 | 99.67 | 99.26 | 93.58 | 78.74 | 85.75 | 98.05 | 20.6 | 94.04 | 79.86
| RShoulder_RIE | 99.67 | 99.67 | 99.26 | 93.58 | 78.74 | 85.75 | 98.05 | 20.6 | 94.04 | 79.86
| RElbow_FE | 99.67 | 99.67 | 99.26 | 93.58 | 78.74 | 85.75 | 98.05 | 20.6 | 94.04 | 79.86
| RElbow_PS | 99.67 | 99.67 | 99.26 | 93.58 | 78.74 | 85.75 | 98.05 | 20.6 | 94.04 | 79.86
| RWrist_FE | 99.67 | 99.67 | 99.26 | 93.58 | 78.74 | 85.75 | 98.05 | 20.6 | 94.04 | 79.86